How to Test Your Smoke Detector

Smoke detectors require little maintenance, but that maintenance could be life-saving. Although there are several makes and models that you might have, you can test their effectiveness in one of two ways.

How often should I test a smoke alarm?

Some people recommend testing it once a month; some recommend testing it when the clocks change. It’s up to you - test your alarms as often as you feel comfortable doing so.

General smoke alarm maintenance

- Clean dust away wherever necessary

- Never remove the battery to use in something else because you may forget to replace it

- Replace the battery on an annual basis even if it is still working

- Replace the alarm every ten years or so